## Prima pagina
MB Distribution
Office: Strada Barbu Văcărescu, nr. 162 , Sector 2, Cod Poștal 020284, București
Depozit: Mogoșoaia, Șos. București – Târgoviște nr. 12A, corp C, TERRANOVA
Office: +4021 230 03 15 ¦ Service: +4021 230 53 84 ¦ Depozit: +4072 428 81 37 ¦ Fax: +4021 230 03 13
office@mbd.ro ¦ service@mbd.ro ¦ www.mbd.ro
Valabilitate ofertă: 16 - 22 septembrie 2026
Condiții comerciale
» Preturile nu conțin TVA, moneda este conform celor specificate în listă, pentru valabilitatea prețurilor promoționale verificați coloana Promotii.
» Condiție de livrare: vă putem trimite echipamentele în condițiile speciale negociate de MBD pentru partenerii săi
» Produsele vor fi puse la dispoziția cumpărătorului sub condiția INCOTERMS 2021 EXW (Ex-Works), cumpărătorul este responsabil pentru plata transportului
și costul asigurării.
» MB Distribution, prin oferte speciale poate achita prețul transportului, ofertele speciale pot fi revocate sau modificate unilateral cu condiția informării în prealabil.
» MB Distribution s-a achitat de obligația de livrare a produselor atunci când acestea sunt puse la dispoziția cumpărătorului în depozitul MB Distribution sau dupa caz, a predat produsele în grija cărăușului/curierului sau în conditii speciale a transportat produsele cu mijloacele proprii la locația indicată de cumpărător.
» Tarife Transport / Condiții Transport valabile începând cu 1 septembrie 2025
» Livrările de proiecte în București și pe o rază de până la 100 Km, se vor face cu mașina MBD - fără costuri
» Livrările la sediul cumpărătorului, în orașul de reședință al acestuia, doar pentru mărfuri nepaletate, se face prin curieri - fără costuri de transport.
Cumpărătorul suportă costul asigurării, în funcție de opțiune.
» Livrările la clienții finali se vor taxa conform tarifelor de transport, la care se poate adăuga costul asigurării, în funcție de opțiune.
» Condițiile comerciale pot fi modificate, din motive obiective, la inițiativa unilaterală a distribuitorului, de aceea vă rugăm să urmăriți ofertele noastre periodice
» Livrările se fac în ordinea comenzilor; pentru stocurile anunțate ca limitate vă rugăm sunați pentru confirmare
Coordonate utile MB Distribution: Vânzări: vanzari@mbd.ro ¦ Marketing: marketing@mbd.ro ¦ Service: service@mbd.ro ¦ Contabilitate: contabilitate@mbd.ro ¦
Logistica: livrari@mbd.ro ¦ Juridic: juridic@mbd.ro
MB Distribution SRL ¦ Nr.Reg.Com.: J40/26946/1994 ¦ C.U.I.: 6646605 ¦ Capital social: 2.139.090 lei
Click aici

## Costuri transport
FIRMA DE TRANSPORT | DISTANTA | VALOARE MARFA /DIMENSIUNI | GREUTATE MARFA | COST TRANSPORT RON FARA TVA_PER EXEDIERE/COLE SAU PALET | OBSERVATII | << inapoi
FAN COURIER | Fara cost suplimentar in resedintele de judet , 0,95 RON /KM, in afara acestora | <2000 RON |  | 25 | CONSUMABILE, NOTEBOOK-URI V,
|  | COLETE | 30 KG | 32 | NOTEBOOK-URI , IMPRIMANTE EPSON CONSUMER, VIDEOPROEICTOARE CONSUMER, UPS MAC 2000va
|  |  | 30-50 KG | 55 | UPS PESTE 3000VA, VIDEOPROIECTOARE BUSINESS, SERVERE
|  |  | 51-100 KG | 130 | MARFA COMBINATA, DISPLAY INTERCATIV/BUCATA
DPD | max 400 KM- resedinte de judet, +60 ron in afara | NON EURO PALET H=100 cm | MAX 350 KG | 220 | PLOTERE, IMPRIMANTE WORKFORCE, PALETI CU DISPLAY INTERCTIV
| 400-800 KM- resedinte de judet, +60 ron in afara |  |  | 390 | MARFA COMBINATA. STORAGE
| max 400 KM- resedinte de judet, +60 ron in afara | NON EURO PALET H=180 cm-200 CM | MAX 750 KG-1000 KG | 220 | PALETI NOTEBOOK-URI, PALETI IMPRIMANTE CONSUMER, RACK-URI
| 400-800 KM- resedinte de judet, +60 ron in afara |  |  | 390

## Socomec
Categorie | Subcategorie | Producator | PN | Denumire | Descriere | Pret Unitar cu Taxa Verde fara TVA | Pret Promo cu Taxa Verde fara TVA | Moneda | Valoare Taxa Verde fara TVA (RON) | Garantie (luni) | Observatii
UPS | Offline | Socomec | NPL-0600-D | NETYS PL UPS Socomec 600VA / 360W, Mini Tower, tehnologie offline, unda in trepte | NETYS PL UPS Socomec 600VA / 360W, Mini Tower, tehnologie offline, unda in trepte, 6x prize Schuko (din care 2 prize doar cu protectie supratensiune), 1x USB pentru reincarcarea dispozitivelor mobile, panou LED-uri, monitorizare si management USB | 74.4 | 57.31 | EUR | 4 | 24 | pret promo valabil in limita stocului
UPS | Offline | Socomec | NPL-0800-D | NETYS PL UPS Socomec 800VA / 480W, Mini Tower, tehnologie offline, unda in trepte | NETYS PL UPS Socomec 800VA / 480W, Mini Tower, tehnologie offline, unda in trepte, 6x prize Schuko (din care 2 prize doar cu protectie supratensiune), 1x USB pentru reincarcarea dispozitivelor mobile, panou LED-uri, monitorizare si management USB | 96 |  | EUR | 4 | 24
UPS | Line interactive | Socomec | NPE-B600 | NETYS PE UPS Socomec 600VA / 360W, Mini Tower, tehnologie line interactive, unda in trepte | NETYS PE UPS Socomec 600VA / 360W, Mini Tower, tehnologie line interactive, unda in trepte, AVR, 4x IEC 320 (C13), panou LED-uri | 46 |  | EUR | 4 | 24
UPS | Line interactive | Socomec | NPE-0650 | NETYS PE UPS Socomec 650VA / 360W, Mini Tower, tehnologie line interactive, unda in trepte | NETYS PE UPS Socomec 650VA / 360W, Mini Tower, tehnologie line interactive, unda in trepte, AVR, 4x IEC 320 (C13), protectie la supratensiune a liniei de date, panou LED-uri, monitorizare si management USB | 54.3 |  | EUR | 4 | 24
UPS | Line interactive | Socomec | NPE-0850 | NETYS PE UPS Socomec 850VA / 480W, Mini Tower, tehnologie line interactive, unda in trepte | NETYS PE UPS Socomec 850VA / 480W, Mini Tower, tehnologie line interactive, unda in trepte, AVR, 4x IEC 320 (C13), protectie la supratensiune a liniei de date, panou LED-uri, monitorizare si management USB | 77.7 |  | EUR | 4 | 24
UPS | Line interactive | Socomec | NPE-1000-LCD | NETYS PE UPS Socomec 1000VA / 600W, Mini Tower, tehnologie line interactive, unda in trepte | NETYS PE UPS Socomec 1000VA / 600W, Mini Tower, tehnologie line interactive, unda in trepte, AVR, 4x IEC 320 (C13), protectie la supratensiune a liniei de date, panou LCD, monitorizare si management USB | 128.1 |  | EUR | 12 | 24
UPS | Line interactive | Socomec | NPE-1500-LCD | NETYS PE UPS Socomec 1500VA / 900W, Mini Tower, tehnologie line interactive, unda in trepte | NETYS PE UPS Socomec 1500VA / 900W, Mini Tower, tehnologie line interactive, unda in trepte, AVR, 6x IEC 320 (C13), protectie la supratensiune a liniei de date, panou LCD, monitorizare si management USB | 172.2 |  | EUR | 12 | 24
UPS | Line interactive | Socomec | NPE-2000-LCD | NETYS PE UPS Socomec 2000VA / 1200W, Mini Tower, tehnologie line interactive, unda in trepte | NETYS PE UPS Socomec 2000VA / 1200W, Mini Tower, tehnologie line interactive, unda in trepte, AVR, 6x IEC 320 (C13), protectie la supratensiune a liniei de date, panou LCD, monitorizare si management USB | 220.6 |  | EUR | 12 | 24
UPS | Line interactive | Socomec | NPR-1000-MT | NETYS PR Mini Tower UPS Socomec 1000VA / 700W, tehnologie line interactive, unda sinusoidala | NETYS PR Mini Tower UPS Socomec 1000VA / 700W, tehnologie line interactive, unda sinusoidala, AVR, 4x IEC 320 (C13), protectie la supratensiune a liniei de date, panou LCD, monitorizare si management USB | 173.4 |  | EUR | 10 | 24
UPS | Line interactive | Socomec | NPR-1500-MT | NETYS PR Mini Tower UPS Socomec 1500VA / 1050W, tehnologie line interactive, unda sinusoidala | NETYS PR Mini Tower UPS Socomec 1500VA / 1050W, tehnologie line interactive, unda sinusoidala, AVR, 6x IEC 320 (C13), protectie la supratensiune a liniei de date, panou LCD, monitorizare si management USB | 242.5 |  | EUR | 10 | 24
UPS | Line interactive | Socomec | NPR-2000-MT | NETYS PR Mini Tower UPS Socomec 2000VA / 1400W, tehnologie line interactive, unda sinusoidala | NETYS PR Mini Tower UPS Socomec 2000VA / 1400W, tehnologie line interactive, unda sinusoidala, AVR, 6x IEC 320 (C13), protectie la supratensiune a liniei de date, panou LCD, monitorizare si management USB | 325 |  | EUR | 10 | 24
UPS | Line interactive | Socomec | NPR-1700-RT | NETYS PR Rack 2U /Tower UPS Socomec 1700VA / 1350W, tehnologie line interactive, unda sinusoidala | NETYS PR Rack 2U /Tower UPS Socomec 1700VA / 1350W, tehnologie line interactive, unda sinusoidala, AVR, 8x IEC 320 10A (C13), protectie la supratensiune a liniei de date, panou LCD, monitorizare si management USB, RS232, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM) | 368.1 |  | EUR | 35 | 24
UPS | Line interactive | Socomec | NPR-2200-RT | NETYS PR Rack 2U /Tower UPS Socomec 2200VA / 1800W, tehnologie line interactive, unda sinusoidala | NETYS PR Rack 2U /Tower UPS Socomec 2200VA / 1800W, tehnologie line interactive, unda sinusoidala, AVR, 8x IEC 320 10A (C13), protectie la supratensiune a liniei de date, panou LCD, monitorizare si management USB, RS232, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM) | 541.4 |  | EUR | 35 | 24
UPS | Line interactive | Socomec | NPR-3300-RT | NETYS PR Rack 2U /Tower UPS Socomec 3300VA / 2700W, tehnologie line interactive, unda sinusoidala | NETYS PR Rack 2U /Tower UPS Socomec 3300VA / 2700W, tehnologie line interactive, unda sinusoidala, AVR, 8x IEC 320 10A (C13) + 1x IEC 320 16A (C19), protectie la supratensiune a liniei de date, panou LCD, monitorizare si management USB, RS232, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM) | 705.6 |  | EUR | 35 | 24
UPS | Online, double conversion | Socomec | OFYS-RT-U1000 | OFYS RT UPS Socomec 1000VA / 900W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala | OFYS RT UPS Socomec 1000VA / 900W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala, 6x IEC 320 10A (C13), panou LCD, monitorizare si management USB, RS232, card SNMP optional OFYS-OP-SNMP, kit RM optional OFYS-OP-RAIL | 312.5 | 242.69 | EUR | 10 | 24 | pret promo valabil in limita stocului
UPS | Online, double conversion | Socomec | OFYS-RT-U2000 | OFYS RT UPS Socomec 2000VA / 1800W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala | OFYS RT UPS Socomec 2000VA / 1800W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala, 6x IEC 320 10A (C13), panou LCD, monitorizare si management USB, RS232, card SNMP optional OFYS-OP-SNMP, kit RM optional OFYS-OP-RAIL | 562.5 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | OFYS-RT-U3000 | OFYS RT UPS Socomec 3000VA / 2700W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala | OFYS RT UPS Socomec 3000VA / 2700W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala, 6x IEC 320 10A (C13) + 1x IEC 320 16A (C19), panou LCD, monitorizare si management USB, RS232, card SNMP optional OFYS-OP-SNMP, kit RM optional OFYS-OP-RAIL | 718.1 |  | EUR | 35 | 24
UPS | Online, double conversion | Socomec | OFYS-RT-U06-K | KIT OFYS RT 6000VA/4800W VFI UPS 1/1 PF=0,8 AND 1x BATTERY CABINET B16 (16x7Ah) | KIT OFYS RT 6000VA/4800W VFI UPS 1/1 PF=0,8 AND 1x BATTERY CABINET B16 (16x7Ah) | 1373 |  | EUR | 35 | 24
UPS | Online, double conversion | Socomec | OFYS-RT-U06X-K | KIT OFYS RT 6000VA/6000W VFI UPS 1/1 PF=1 AND 1x BATTERY CABINET B20 (20x9Ah) | KIT OFYS RT 6000VA/6000W VFI UPS 1/1 PF=1 AND 1x BATTERY CABINET B20 (20x9Ah) | 1658.9 | 1154.42 | EUR | 35 | 24 | pret promo valabil in limita stocului
UPS | Online, double conversion | Socomec | NRT2-U1100 | NETYS RT UPS Socomec 1100VA / 900W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 1100VA / 900W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala, 6x IEC 320 10A (C13), 1x RJ11 EPO (Emergency Power Off), panou LCD, monitorizare si management USB, RS232, EPO (Emergency Power Off), card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), kit RM inclus | 479 | 379.04 | EUR | 10 | 24 | pret promo valabil in limita stocului
UPS | Online, double conversion | Socomec | NRT4-U010B | NETYS RT UPS Socomec 1000VA / 1000W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 1000VA / 1000W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala, 8x IEC 320 10A (C13), panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), kit RM inclus | 443 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | NRT4-U015B | NETYS RT UPS Socomec 1500VA / 1500W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 1500VA / 1500W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala, 8x IEC 320 10A (C13), panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), kit RM inclus | 617.2 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | NRT4-U020B | NETYS RT UPS Socomec 2000VA / 2000W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 2000VA / 2000W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala, 8x IEC 320 10A (C13) + 1x IEC 320 16A (C19), panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), kit RM inclus | 746.4 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | NRT4-U020B-C | NETYS RT-M UPS Socomec 2000VA / 2000W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT-M UPS Socomec 2000VA / 2000W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala, 8x IEC 320 10A (C13), panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), kit RM inclus | 861.6 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | NRT4-U030B | NETYS RT UPS Socomec 3000VA / 3000W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 3000VA / 3000W, Rack 2U /Tower, tehnologie online dubla conversie, unda sinusoidala, 8x IEC 320 10A (C13) + 1x IEC 320 16A (C19), panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), kit RM inclus | 950.6 |  | EUR | 35 | 24
UPS | Online, double conversion | Socomec | NRT4-050K | NETYS RT UPS Socomec 5000VA / 5000W, Rack 4U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 5000VA / 5000W, Rack 4U /Tower, tehnologie online dubla conversie, unda sinusoidala, conectori iesire: borne, panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, Parallel port, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), posibilitate configuratii paralele redundante, kit RM inclus | 1698.9 |  | EUR | 35 | 24
UPS | Online, double conversion | Socomec | NRT4-060K | NETYS RT UPS Socomec 6000VA / 6000W, Rack 4U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 6000VA / 6000W, Rack 4U /Tower, tehnologie online dubla conversie, unda sinusoidala, conectori iesire: borne, panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, Parallel port, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), posibilitate configuratii paralele redundante, kit RM inclus | 2101.3 |  | EUR | 35 | 24
UPS | Online, double conversion | Socomec | NRT4-080K | NETYS RT UPS Socomec 8500VA / 8500W, Rack 5U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 8500VA / 8500W, Rack 5U /Tower, tehnologie online dubla conversie, unda sinusoidala, conectori iesire: borne, panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, Parallel port, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), posibilitate configuratii paralele redundante, kit RM inclus | 2741.3 |  | EUR | 35 | 24
UPS | Online, double conversion | Socomec | NRT4-108K | NETYS RT UPS Socomec 8500VA / 8500W, 1/1 or 3/1, Rack 5U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 8500VA / 8500W, 1/1 or 3/1, Rack 5U /Tower, tehnologie online dubla conversie, unda sinusoidala, Intrare / Iesire 1/1 sau 3/1, conectori iesire: borne, panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, Parallel port, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), posibilitate configuratii paralele redundante, kit RM inclus | 2997.1 |  | EUR | 35 | 24
UPS | Online, double conversion | Socomec | NRT4-100K | NETYS RT UPS Socomec 10000VA / 10000W, Rack 5U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 10000VA / 10000W, Rack 5U /Tower, tehnologie online dubla conversie, unda sinusoidala, conectori iesire: borne, panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, Parallel port, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), posibilitate configuratii paralele redundante, kit RM inclus | 2931.3 |  | EUR | 35 | 24
UPS | Online, double conversion | Socomec | NRT4-110K | NETYS RT UPS Socomec 10000VA / 10000W, 1/1 or 3/1, Rack 5U /Tower, tehnologie online dubla conversie, unda sinusoidala | NETYS RT UPS Socomec 10000VA / 10000W, 1/1 or 3/1, Rack 5U /Tower, tehnologie online dubla conversie, unda sinusoidala, Intrare / Iesire 1/1 sau 3/1, conectori iesire: borne, panou LCD, RS232 MODBUS protocol, USB port, Dry contacts, EPO input, Parallel port, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), posibilitate configuratii paralele redundante, kit RM inclus | 3212.9 |  | EUR | 35 | 24
UPS | Online, double conversion | Socomec | ITY3-TW010B | ITYS UPS Socomec 1000VA / 1000W, Tower, tehnologie online dubla conversie, unda sinusoidala | ITYS UPS Socomec 1000VA / 1000W, Tower, tehnologie online dubla conversie, unda sinusoidala, 4x IEC 320 (C13), panou LCD, monitorizare si management USB, RS232, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM) | 300.9 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | ITY3-TW020B | ITYS UPS Socomec 2000VA / 2000W, Tower, tehnologie online dubla conversie, unda sinusoidala | ITYS UPS Socomec 2000VA / 2000W, Tower, tehnologie online dubla conversie, unda sinusoidala, 8x IEC 320 (C13), panou LCD, monitorizare si management USB, RS232, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM) | 549.2 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | ITY3-TW030B | ITYS UPS Socomec 3000VA / 3000W, Tower, tehnologie online dubla conversie, unda sinusoidala | ITYS UPS Socomec 3000VA / 3000W, Tower, tehnologie online dubla conversie, unda sinusoidala, 8x IEC 320 (C13) + 1x IEC 320 16A (C19), panou LCD, monitorizare si management USB, RS232, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM) | 657.5 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | ITY3-TW060B | ITYS UPS Socomec 6000VA / 6000W, Tower, tehnologie online dubla conversie, unda sinusoidala | ITYS UPS Socomec 6000VA / 6000W, Tower, tehnologie online dubla conversie, unda sinusoidala, conectori iesire: borne, panou LCD, monitorizare si management USB, RS232, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), Bypass manual | 1311.6 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | ITY3-TW108B | ITYS UPS Socomec 8500VA / 8500W, 1/1 or 3/1, Tower, tehnologie online dubla conversie, unda sinusoidala | ITYS UPS Socomec 8500VA / 8500W, Tower, tehnologie online dubla conversie, unda sinusoidala, Intrare / Iesire 1/1 sau 3/1, conectori iesire: borne, panou LCD, monitorizare si management USB, RS232, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), Bypass manual | 1743.3 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | ITY3-TW100B | ITYS UPS Socomec 10000VA / 10000W, Tower, tehnologie online dubla conversie, unda sinusoidala | ITYS UPS Socomec 10000VA / 10000W, Tower, tehnologie online dubla conversie, unda sinusoidala, conectori iesire: borne, panou LCD, monitorizare si management USB, RS232, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), Bypass manual | 1888.3 |  | EUR | 10 | 24
UPS | Online, double conversion | Socomec | ITY3-TW110B | ITYS UPS Socomec 10000VA / 10000W, 1/1 or 3/1, Tower, tehnologie online dubla conversie, unda sinusoidala | ITYS UPS Socomec 10000VA / 10000W, Tower, tehnologie online dubla conversie, unda sinusoidala, Intrare / Iesire 1/1 sau 3/1, conectori iesire: borne, panou LCD, monitorizare si management USB, RS232, card SNMP optional, posibilitate adaugare module pentru extensia bateriilor (EBM), Bypass manual | 2219.1 |  | EUR | 10 | 24
UPS | Kit Rack Mount | Socomec | NRT4-OP-RAIL | Sine glisante pentru montare UPS in rack 19", compatibile cu Socomec NETYS RT4, OFYS RTmax. 80 kg | Sine glisante pentru montare UPS in rack 19", compatibile cu Socomec NETYS RT4, OFYS RTmax. 80 kg | 53.3 |  | EUR | 0 | -
UPS | PDU Box | Socomec | FS1-420-NRT-PDU | Socomec panel distributie, Intrare Hard-Wired, Iesiri 6x C13 + 4x C19 | Socomec panel distributie, Intrare Hard-Wired, Iesiri 6x C13 + 4x C19 | 130 | 9.42 | EUR | 0 | 12 | pret promo valabil in limita stocului
UPS | Bypass | Socomec | NRT3-OP-MBP | NeTYS RT Manual Bypass for single unit for 5000VA to 11000VA UPS | NeTYS RT Manual Bypass for single unit for 5000VA to 11000VA UPS | 307.52 | 88.46 | EUR | 0 | 24 | pret promo valabil in limita stocului
UPS | Card retea pentru management UPS | Socomec | NRT-OP-SNMP | SNMP Card management retea pentru Socomec NETYS RT (Seriile NRT- / NRT2-), monitorizare individuala | SNMP Card management retea pentru Socomec NETYS RT (Seriile NRT- / NRT2-), monitorizare individuala | 164.37 | 121.54 | EUR | 0 | 24 | pret promo valabil in limita stocului
UPS | Card retea pentru management UPS | Socomec | OFYS-OP-SNMP | SNMP Card management retea pentru Socomec OFYS RT | SNMP Card management retea pentru Socomec OFYS RT | 151.1 |  | EUR | 0 | 24
UPS | Card retea pentru management UPS | Socomec | NET-VISION8CARD | SNMP Card management retea pentru Socomec NETYS PR RT, NETYS PR Rack 1U, NETYS RT si ITYS (Seriile NPR-RT / NET-PR-1U / NRT2- / NRT3- / ITY2- / ITY3-), monitorizare centralizata cu REMOTE VIEW | SNMP Card management retea pentru Socomec NETYS PR RT, NETYS PR Rack 1U, NETYS RT si ITYS (Seriile NPR-RT / NET-PR-1U / NRT2- / NRT3- / ITY2- / ITY3-), monitorizare centralizata cu REMOTE VIEW | 279.6 |  | EUR | 0 | 24
UPS | Card retea pentru management UPS | Socomec | NPR-OP-SNMP-RK | WEB/SNMP ADAPTER FOR MINISLOT | WEB/SNMP ADAPTER FOR MINISLOT | 134.78 | 9.81 | EUR | 0 | 24 | pret promo valabil in limita stocului
UPS | Card retea pentru management UPS | Socomec | NPR-OP-REL | NeTYS PR Relay Board for Slot 5x Output Relays for UPS NETYS PR 1700-2200-3300VA | NeTYS PR Relay Board for Slot 5x Output Relays for UPS NETYS PR 1700-2200-3300VA | 54.2 | 4.81 | EUR | 0 | 12 | pret promo valabil in limita stocului
UPS | Card retea pentru management UPS | Socomec | OFYS-OP-REL | OFYS RT Relay Board for Slot 1x Input, 6x Outputs | OFYS RT Relay Board for Slot 1x Input, 6x Outputs | 73.4 | 20.19 | EUR | 0 | 24 | pret promo valabil in limita stocului
UPS | Senzor mediu | Socomec | NRT-OP-EMD | Senzor monitorizare temperatura si umiditate (EMD - environmental monitor device) pentru SNMP Socomec NRT-OP-SNMP | Senzor monitorizare temperatura si umiditate (EMD - environmental monitor device) pentru SNMP Socomec NRT-OP-SNMP | 147.84 | 6.73 | EUR | 0 | 24 | pret promo valabil in limita stocului
UPS | Senzor mediu | Socomec | NET-VISION-EMD | Senzor monitorizare temperatura si umiditate (EMD - environmental monitor device) pentru SNMP Socomec NET-VISIONCARD | Senzor monitorizare temperatura si umiditate (EMD - environmental monitor device) pentru SNMP Socomec NET-VISIONCARD | 90.99 | 33.85 | EUR | 0 | 24 | pret promo valabil in limita stocului
UPS | Senzor mediu | Socomec | NET-VISION8-EMD | NET VISION ENVIRONMENT TEMPERATURE AND HUMIDITY SENSOR AND 2 INPUTS | NET VISION ENVIRONMENT TEMPERATURE AND HUMIDITY SENSOR AND 2 INPUTS | 90 |  | EUR | 0 | 24
STS | Static transfer system | Socomec | 3310016001 | STATYS XS 16A 230V SINGLE PHASE 2 WIRES 2 POLE SWITCHING 19 INCHES RACK | Sistem de transfer pentru alimentare cu energie redundanta, 16A, 1U, rack mount, Intrari 2x C20, Iesiri 1x C19 (16A) + 8x C13 (10A), panou LCD, 5 contacte de releu, card SNMP / RS485 optional | 565.2 |  | EUR | 0 | 24
STS | Static transfer system | Socomec | 3310032001 | STATYS XS 32A 230V SINGLE PHASE 2 WIRES 2 POLE SWITCHING 19 INCHES RACK | Sistem de transfer pentru alimentare cu energie redundanta, 30A, 2U, rack mount, Intrari si Iesiri Hardwired, panou LCD, 5 contacte de releu, card SNMP / RS485 optional | 1132.2 |  | EUR | 0 | 24
STS | Card retea pentru management STS | Socomec | 3300000001 | WEB/SNMP BOARD FOR SLOT FOR STATYS XS | WEB/SNMP BOARD FOR SLOT FOR STATYS XS | 238.5 |  | EUR | 0 | 24
STS | Senzor mediu | Socomec | 3300000004 | STATYS XS ENVIRONMENT TEMPERATURE AND HUMIDITY SENSOR AND 2 INPUTS | STATYS XS ENVIRONMENT TEMPERATURE AND HUMIDITY SENSOR AND 2 INPUTS | 139.8 |  | EUR | 0 | 24
UPS | External Battery Module | Socomec | NPR-B1700-RT | Extensie baterie (EBM) UPS Socomec NETYS PR RT 1700VA (NPR-1700-RT) | Extensie baterie (EBM) UPS Socomec NETYS PR RT 1700VA (NPR-1700-RT) | 284.1 |  | EUR | 0 | 24
UPS | External Battery Module | Socomec | NPR-B3300-RT | Extensie baterie (EBM) UPS Socomec NETYS PR RT 2200VA, 3300VA (NPR-2200-RT, NPR-3300-RT) | Extensie baterie (EBM) UPS Socomec NETYS PR RT 2200VA, 3300VA (NPR-2200-RT, NPR-3300-RT) | 541.6 |  | EUR | 0 | 24
UPS | External Battery Module | Socomec | NRT4-B015 | NeTYS RT NORMAL LIFE BATTERY CABINET FOR 1000VA AND 1500VA UPS | NeTYS RT NORMAL LIFE BATTERY CABINET FOR 1000VA AND 1500VA UPS | 358.3 |  | EUR | 0 | 24
UPS | External Battery Module | Socomec | NRT4-B030 | NeTYS RT NORMAL LIFE BATTERY CABINET FOR 2000VA AND 3000VA UPS | NeTYS RT NORMAL LIFE BATTERY CABINET FOR 2000VA AND 3000VA UPS | 780.8 |  | EUR | 0 | 24
UPS | External Battery Module | Socomec | NRT4-B060 | NeTYS RT NORMAL LIFE BATTERY CABINET FOR 5000VA AND 6000VA UPS +RAILS | NeTYS RT NORMAL LIFE BATTERY CABINET FOR 5000VA AND 6000VA UPS +RAILS | 809.9 |  | EUR | 0 | 24
UPS | External Battery Module | Socomec | NRT4-B100 | NeTYS RT NORMAL LIFE BATTERY CABINET FOR 8500VA AND 10000VA UPS +RAILS | NeTYS RT NORMAL LIFE BATTERY CABINET FOR 8500VA AND 10000VA UPS +RAILS | 1139.1 |  | EUR | 0 | 24
UPS | External Battery Module | Socomec | ITY3-EX010B | Extensie baterie (EBM) UPS Socomec ITYS3 1000VA (ITY3-TW010B) | Extensie baterie (EBM) UPS Socomec ITYS3 1000VA (ITY3-TW010B) | 342.5 |  | EUR | 0 | 24
UPS | External Battery Module | Socomec | ITY3-EX030B | Extensie baterie (EBM) UPS Socomec ITYS3 2000VA, 3000VA (ITY3-TW020B, ITY3-TW030B) | Extensie baterie (EBM) UPS Socomec ITYS3 2000VA, 3000VA (ITY3-TW020B, ITY3-TW030B) | 625 |  | EUR | 0 | 24
UPS | External Battery Module | Socomec | ITY3-EX100B | Extensie baterie (EBM) UPS Socomec ITYS3 6000VA, 8500VA, 10000VA (ITY3-TW060B, ITY3-TW108B, ITY3-TW100B, ITY3-TW110B) | Extensie baterie (EBM) UPS Socomec ITYS3 6000VA, 8500VA, 10000VA (ITY3-TW060B, ITY3-TW108B, ITY3-TW100B, ITY3-TW110B) | 1824.1 |  | EUR | 0 | 24